## RA
VISITOR CENTRE RISK ASSESSMENT
Date Of Assessment: |  |  |  | Location: | Portland Bill
Person/s In Attendance: A.Woodward & A. McCarthy |  |  |  | H&S Inspection Doc: |  | 540064
TASKS OR JOBS COVERED BY THIS ASSESSMENT
Tour guides/ lighthouse attendants to give members of the public tours of the Lighthouse
Max No of People Exposed At Any One Time (including guides) - |  |  |  |  | 20 |  | TH Doc Number
540213V1
HAZARDS:
1 | Slips, trips & falls internal & grounds
2 | Internal Stairwells - Extremely steep into Lantern - not compliant with modern standards
3 | Contact with electricity or an electrical discharge
4 | Fire
5 | Lack of information/training
6 | Poor Illumination
7 | Asbestos
8 | Mercury Vapour in the Air
9 | Other hazardous substances - Battery acid, Cleaning products
10 | Inappropriate footwear
11 | Contact with moving machinery
12 | Other hazards identified during visit (if any)
Considering normal conditions to and from the lantern area what could be the worse possible outcome:
HAZARD SEVERITY |  |  | LIKELIHOOD OF OCCURRENCE
| 5 | Very High | 5 | Very Likely | Risk Rating
| 4 | High | 4 | Likely
| 3 | Moderate | 3 | Quite Possible |  | 16
| 2 | Slight | 2 | Possible | MEDIUM RISK to be reviewed with a view to reducing the risk where practicable
| 1 | Nil | 1 | Unlikely
| 4 |  | 4
CONTROLS IN PLACE TO REDUCE THE RISK :
1 | Clean stone / paving or appropriate anti-slip aggregate and paint(See SAT Report)
2 | Slip assessment test carried out - Children to be capable of climbing the stairs unaided/ no flip flops etc.
3 | Handrails, measurements taken (See chart)
4 | Fire exit routes clearly marked & emergency lighting fitted
5 | Fire detection equipment fitted and tested regularly with automatic alarm to OPC (24hr manned), fire extinguishers, Fire & Emergency Plan
6 | Attendants briefing, Safety signs, Leaflets and Visitor Safety Restrictions
7 | Illumination tests carried out throughout the building (See table)
8 | Asbestos registers, briefs showing any asbestos on station. See doc: 17259
9 | Mercury readings are taken where appropriate at regular intervals
10 | Cupboards clearly marked containing cleaning products, Batteries protected
11 | Attendant or Tour Guides trained in First Aid / First Aid Kit on Station |  | Nil
12 | Restriction on maximum number of persons in tower (20)
13 | Electrical control boxes and cables are protected throughout the building
14 | All moving machinery guarded or at safe distance
15 | Refer to current H&S Inspection/Audit report for compliance status
RESIDUAL RISK ASSESSMENT
HAZARD SEVERITY |  |  | LIKELIHOOD OF OCCURRENCE
| 5 | Very High | 5 | Very Likely | Risk Rating
| 4 | High | 4 | Likely
| 3 | Moderate | 3 | Quite Possible |  | 8
| 2 | Slight | 2 | Possible | LOW RISK reduce as appropriate and monitor
| 1 | Nil | 1 | Unlikely
| 4 |  | 2
Risk Assessment to be reviewed annually
Alderney |  | 1
Anvil Point |  | 2
Portland Bill |  | 3
St Catherines |  | 4
Southwold |  | 5
Lowestoft
South Stack
Orfordness
Nash Point
Start Point
Lizard
Longstone
Flamborough
North Foreland
Other
Note on D27: Causing multiple deaths or widespread destruction. This would include an explosion, major chemical release, the collapse of a building or piece of large plant
Note on F27: There is almost a 100% certainty that the work process will produce an accident (broken ladder, exposed live electric’s, unstable cargo stack, no brakes).
Note on G27: RISK = HAZARD SEVERITY x LIKELIHOOD OF OCCURRENCE…. High risk (20-25) situations require a quick reaction to reduce risk. Consider ceasing task or operation until improvements are made. Medium risk situations (10-19) to be reviewed with a view to reducing the risk where practicable. Low risk situation (1-9) to be reduced as appropriate and monitored.
Note on D28: Causing death or serious injury or a dangerous occurrence of the severity that would need to be reported to the HSE within 24 hours. See Accident Reporting Policy or Flowchart
Note on F28: The effect of a slight factor (human carelessness, inclement/icy weather or poor brakes) will definitely cause an accident
Note on D29: Causing an injury capable of keeping a person off work for more than three days.
Note on F29: Additional factors might produce an accident but it is unlikely to happen without them (defective lighting, obstructed walkways, litter or debris on floor). Factors that could be avoided with 'common sense'
Note on D30: Causing a minor injury that would require local First Aid treatment.
Note on F30: A combination of additional factors could produce an accident but is not unlikely to occur otherwise. Wet boots AND slightly worn ladder, or water AND cracked electric plug.
Note on D31: No risk of injury.
Note on F31: Only freak conditions would result in an accident but very unlikely.
Note on B50: Now re-assess the risk AFTER the above controls are taken into consideration. The risk factor should reduce to an acceptable level, if not re-evaluate the control measures.
Note on D52: Causing multiple deaths or widespread destruction. This would include an explosion, major chemical release, the collapse of a building or piece of large plant, boat sinking or overturning.
Note on F52: There is almost a certainty that the work process will produce an accident (broken ladder, exposed live electric’s, unstable cargo stack, no brakes).
Note on G52: RISK = HAZARD SEVERITY x LIKELIHOOD OF OCCURRENCE…. High risk (20-25) situations require a quick reaction to reduce risk. Consider ceasing task or operation until improvements are made. Medium risk situations (10-19) to be reviewed with a view to reducing the risk where practicable. Low risk situation (1-9) to be reduced as appropriate and monitored.
Note on D53: Causing death or serious injury or a dangerous occurrence of the severity that would need to be reported to the HSE within 24 hours. See Accident and Dangerous Occurrence Definitions link.
Note on F53: The effect of a very slight factor will definitely cause an accident. Such as human carelessness, inclement/icy weather or poor brakes.
Note on D54: Causing an injury capable of keeping a person off work for more than three days.
Note on F54: An obvious additional factor might produce an accident but it is unlikely to happen without it (defective lighting, obstructed walkways, litter or debris on floor). Factors that could be avoided with 'common sense'
Note on D55: Causing a minor injury that would require local First Aid treatment.
Note on F55: A combination of two additional factors could produce an accident but is not unlikely to occur otherwise. Such as wet boots AND slightly worn ladder, or water AND cracked electric plug.
Note on D56: No risk of injury.
Note on F56: Only freak conditions would result in an accident but unlikely.

## Readings & Measurements
Readings & Measurements
| Stairway Measurements (hazard 2) |  |  | TH Doc Number
Entrance
Ref | cms | Comment
A
B
C
D
E
F
Tower
Ref | cms | Comment
A
B
C
D
E
F
Gallery
Ref | cms | Comment
G
H
J
L
AREA | Average LUX (Min 100 Lx) | Satisfactory Yes/No | Comments
Entrance
Tower Base
Stairway
Service Room
Lantern
Defects & Anomolies
Summary & Conclusion
Re-assessment Date

## Slip Assessment Report (hidden)
Slip Assessment Tool Report
Date |  | Time |  |  |  |  | TH Doc Number
Operator | [6 empty] | 540213V1
Site
Floor Information (Select 1)
Carpet |  | Linoleum |  | Concrete * |  |  | Notes
Epoxy |  | Glass |  | Natural stone *
Macadam |  | Metal |  | Ceramic tile *
Vinyl/PVC |  | Rubber |  | Terrazzo *
Anti- slip |  | Painted smooth |  | Quarry tile *
Wood |  | Other
Items marked *…Has the floor been acid etched or roughened?
Yes, but the appearance of the surface was unaffected |  |  |  | Yes, and the surface became less reflective and duller |  |  | No
Roughness Readings (Um) - Instrument Calibrated Yes / No
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Floor Surface Contamination (Select on option only) | [6 empty] | Amount of Contamination
None | Dusty | Water based | Oily | Greasy | Semi-solid |  | Very Light | Light | Medium | Heavy
Potential Floor surface Contamination Sources (select all that apply)
Machinery spillage | Poor floor drainage | Leaking roof | Close to | Outdoors | Wash facility | Wet shoes | Other
a canteen
Footwear soiling material (select one option)
No control over footwear |  | Non safety footwear/other |  | Standard Safety Footwear |  | Special anti-slip footwear |  | Barefoot | Other:- Cannot identify footwear
Floor cleaning type (Select one option)
No cleaning |  | Wet mopped |  | Mechanical scrubber drier
Rotary buffer |  | Wet mopped and rinsed |  | Wet mopped, rinsed and dried
Brushed |  | Water power hose |  | Other- ineffective
Vacuumed |  | Squeegee |  | Other- Effective
Floor surface usage |  |  | Floor cleaning frequency |  |  | Environemental factors
Pedestrians pulling/pushing |  |  | Continuously |  |  | Inadequately lit
Pedestrians carrying loads |  |  | Regular intervals |  |  | Unexpected loud noises
Rushing pedestrians |  |  | Once per day |  |  | Near other distractions
Elderly/Very young pedestrians |  |  | When it looks dirty |  |  | Other
Pedestrians with disabilities |  |  | Seldom
Other |  |  | Never

## SAT Results
| GO TO | HSE SLIP ASSESSMENT TOOL DOWNLOAD SITE
Slip Assessment Tool Report
| Date | 2024-02-01 | Time |  | Doc No
| Operator | Anna Woodward
| Site | Portland Bill
Floor Information (Select 1)
| Carpet |  | Linoleum |  | Concrete * |  |  | Notes
| Epoxy |  | Glass |  | Natural stone * | * |  | HSE SAT test results are Low slip risk.
| Macadam |  | Metal |  | Ceramic tile *
| Vinyl/PVC |  | Rubber |  | Terrazzo *
| Anti- slip |  | Painted smooth |  | Quarry tile *
| Wood |  | Other
Items marked *…Has the floor been acid etched or roughened?
| Yes, but the appearance of the surface was unaffected |  |  |  | Yes, and the surface became less reflective and duller |  |  |  | No | *
Roughness Readings (Um) - Instrument Calibrated Yes / No
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | Average
Tower | 97.04 | 58.347 | 39.108 | 72.072 | 64.999 | 38.957 | 107.47 | 14.322 | 68.558 | 17.016 | 57.7889
| Floor Surface Contamination (Select on option only) | [6 empty] | Amount of Contamination
| None | Dusty | Water based | Oily | Greasy | Semi-solid |  | Very Light | Light | Medium | Heavy
|  | * | [6 empty] | *
Potential Floor surface Contamination Sources (select all that apply)
| Machinery spillage | Poor floor drainage | Leaking roof | Close to | Outdoors | Wash facility | Wet shoes | Other
a canteen
*
Footwear soiling material (select one option)
| No control over footwear |  | Non safety footwear/other |  | Standard Safety Footwear |  | Special anti-slip footwear |  | Barefoot | Other:- Cannot identify footwear
*
Floor cleaning type (Select one option)
| No cleaning |  | Wet mopped |  | Mechanical scrubber drier
| Rotary buffer |  | Wet mopped and rinsed |  | Wet mopped, rinsed and dried
| Brushed | * | Water power hose |  | Other- ineffective
| Vacuumed |  | Squeegee |  | Other- Effective
| Floor surface usage |  |  | Floor cleaning frequency |  |  | Environemental factors
| Pedestrians pulling / pushing | * |  | Continuously |  |  | Inadequately lit |  | *
| Pedestrians carrying loads |  |  | Regular intervals |  |  | Unexpected loud noises
| Rushing pedestrians |  |  | Once per day |  |  | Near other distractions
| Elderly/Very young pedestrians |  |  | When it looks dirty | * |  | Other
| Pedestrians with disabilities |  |  | Seldom
| Other |  |  | Never
Overall assessment result from HSE SAT software programme : Slip Risk
www.hse.gov.uk/slips/sat/